## Slide 1
DTGELVALK
LOD=0.05 fmol
y=1.01x-0.16
CDK12
Calibration Curve for CDK12 Peptide

## Slide 2
DTGELVALK
CDK12
LOD
Standard Response Curve for Absolute Quantification of CDK12 Peptide
y=0.04x+0.004

## Slide 3
LCGSPCPAVWPDVIK
LOD=2.4 fmol
y=1.10x-1.28
CDK12
Calibration Curve for CDK12 Peptide

## Slide 4
LOD
LCGSPCPAVWPDVIK
CDK12
y=0.04x-0.01
Standard Response Curve for Absolute Quantification of CDK12 Peptide

## Slide 5
ICGSPCPAVWPDVIK
LOD=2.4 fmol
y=1.06x-0.66
CDK13
Calibration Curve for CDK13 Peptide

## Slide 6
ICGSPCPAVWPDVIK
CDK13
LOD
y=0.04x+0.006
Standard Response Curve for Absolute Quantification of CDK13 Peptide

## Slide 7
VENNLIVDK
LOD=0.08 fmol
y=1.03x-0.21
CDK13
Calibration Curve for CDK13 Peptide

## Slide 8
VENNLIVDK
CDK13
LOD
y=0.04x+0.006
Standard Response Curve for Absolute Quantification of CDK13 Peptide

## Slide 9
ATAEALLALPVLR
LOD=0.04 fmol
y=1.09x-0.16
PKMYT1
Calibration Curve for PKMYT1 Peptide

## Slide 10
ATAEALLALPVLR
PKMYT1
LOD
y=0.04x+0.00
Standard Response Curve for Absolute Quantification of PKMYT1 Peptide

## Slide 11
GSFPSFEPR
LOD=0.14 fmol
y=1.01x-0.15
PKMYT1
Calibration Curve for PKMYT1 Peptide

## Slide 12
GSFPSFEPR
PKMYT1
LOD
y=0.04x-0.004
Standard Response Curve for Absolute Quantification of PKMYT1 Peptide

## Slide 13
SLPPPPPAK
LOD=0.35 fmol
y=1.13x-0.41
PKMYT1
Calibration Curve for PKMYT1 Peptide

## Slide 14
SLPPPPPAK
PKMYT1
LOD
y=0.03x-0.008
Standard Response Curve for Absolute Quantification of PKMYT1 Peptide

## Slide 15
AEPYETSQGK
LOD=0.2 fmol
y=1.36x-0.05
TLK2
Calibration Curve for TLK2 Peptide

## Slide 16
AEPYETSQGK
TLK2
LOD
y=0.03x-0.007
Standard Response Curve for Absolute Quantification of TLK2 Peptide

## Slide 17
ISALENSK
LOD=0.17 fmol
y=1.05x-0.30
TLK2
Calibration Curve for TLK2 Peptide

## Slide 18
ISALENSK
TLK2
LOD
y=0.04x-0.01
Standard Response Curve for Absolute Quantification of TLK2 Peptide