## Sheet1
Peptide Performance Parameters and Robust Linear Regression Analysis of Peptide Calibration (Reverse) and Response (Forward) Curves for the Dark Kinases
Gene Symbol | Protein Name | Peptide Sequence | LOD (fmol)2 | LOQ (fmol)3 | Calibration Curve Equation | Standard Response Curve Equation
CDK12 | Cyclin Dependent Kinase 12 | DTGELVALK1 | 0.05 | 0.15 | y=1.01x-0.16 | y=0.04x+0.004
CDK12 | Cyclin Dependent Kinase 12 | LCGSPCPAVWPDVIK | 2.4 | 7.2 | y=1.10x-1.28 | y=0.04x-0.01
CDK13 | Cyclin Dependent Kinase 13 | ICGSPCPAVWPDVIK | 2.4 | 7.2 | y=1.106-0.66 | y=0.04x+0.006
CDK13 | Cyclin Dependent Kinase 13 | VENNLIVDK | 0.08 | 0.24 | y=1.03-0.21 | y=0.04x+0.006
PKMYT1 | Protein Kinase, Membrane Associated Tyrosine/Threonine 1 | ATAEALLALPVLR | 0.04 | 0.12 | y=1.09-0.16 | y=0.04x+0.000
PKMYT1 | Protein Kinase, Membrane Associated Tyrosine/Threonine 1 | GSFPSFEPR | 0.14 | 0.42 | y=1.01x-0.15 | y=0.04x-0.004
PKMYT1 | Protein Kinase, Membrane Associated Tyrosine/Threonine 1 | SLPPPPPAK | 0.35 | 1.05 | y=1.13x-0.41 | y=0.03x-0.008
TLK2 | Tousled Like Kinase 2 | AEPYETSQGK | 0.2 | 0.6 | y=1.36x-0.05 | y=0.03x-0.007
TLK2 | Tousled Like Kinase 2 | ISALENSK | 0.17 | 0.51 | y=1.05-0.30 | y=0.04x-0.01
1 Emboldened amino acid indicates stable isotope labeled residue with either Lys -[13C6] [15N2] or Arg -[13C6] [15N4]. Cys residues are carbamidomethylated.
2 The LOD was determined using a non-parametric method with eight LC-MS analyses without added analyte ((http://clinchem.aaccjnls.org/content/50/4/732).
3 The LOQ was generated from the LOD (“Algorithms, Routines and S Functions for Robust Statistics” (CRC Press, Boca Raton, Florida, USA, 1993)).